## Results
RESNET Pub 002-20 DHW Test Results:
Software Name: |  |  | Test Case Pass/Fail Criteria
(for use with Pub 002-2020) |  |  |  | Duluth MN Cases: | MBtu/y | Range Min | Range Max | Pass/Fail
User input data fields indicated by pale yellow |  |  |  | L100AD-HW-01 | 0 | 19.3438 | 19.8762 | fail
Test result fields indicated by pale green |  |  |  | L100AD-HW-02 | 0 | 25.7586 | 26.5514 | fail
|  |  |  | L100AD-HW-03 | 0 | 17.2034 | 17.7034 | fail
Test Case Results: |  |  |  | L100AD-HW-04 | 0 | 24.9369 | 25.7131 | fail
| DHW Energy | Recirc Pump |  | L100AD-HW-05 | 0 | 55.9326 | 57.5819 | fail
Minnesota | [therms] | [kWh] |  | L100AD-HW-06 | 0 | 22.6106 | 23.2764 | fail
L100AD-HW-01 |  |  |  | L100AD-HW-07 | 0 | 20.512 | 21.088 | fail
L100AD-HW-02 |  |  |  | Miami FL Cases: | MBtu/y | Range Min | Range Max | Pass/Fail
L100AD-HW-03 |  |  |  | L100AM-HW-01 | 0 | 10.7447 | 11.2447 | fail
L100AD-HW-04 |  |  |  | L100AM-HW-02 | 0 | 13.3741 | 13.8741 | fail
L100AD-HW-05 |  |  |  | L100AM-HW-03 | 0 | 8.8263 | 9.3263 | fail
L100AD-HW-06 |  |  |  | L100AM-HW-04 | 0 | 13.0552 | 13.5552 | fail
L100AD-HW-07 |  |  |  | L100AM-HW-05 | 0 | 30.8368 | 31.5464 | fail
|  |  |  | L100AM-HW-06 | 0 | 12.0884 | 12.5884 | fail
| Energy | Pump |  | L100AM-HW-07 | 0 | 11.8403 | 12.3403 | fail
Florida | [therms] | [kWh] |  | MN Delta Cases: | MBtu/y | Range Min | Range Max | Pass/Fail
L100AM-HW-01 |  |  |  | MN (1-2 delta) | 0 | -6.7684 | -6.2684 | fail
L100AM-HW-02 |  |  |  | MN (1-3 delta) | 0 | 1.9159 | 2.4159 | fail
L100AM-HW-03 |  |  |  | MN (2-4 delta) | 0 | 0.57817 | 1.0782 | fail
L100AM-HW-04 |  |  |  | MN (2-5 delta) | 0 | -31.0305 | -30.174 | fail
L100AM-HW-05 |  |  |  | MN (2-6 delta) | 0 | 2.9528 | 3.4528 | fail
L100AM-HW-06 |  |  |  | MN (2-7 delta) | 0 | 5.0901 | 5.5901 | fail
L100AM-HW-07 |  |  |  | FL Delta Cases: | MBtu/y | Range Min | Range Max | Pass/Fail
|  |  |  | FL (1-2 delta) | 0 | -2.8794 | -2.3794 | fail
|  |  |  | FL (1-3 delta) | 0 | 1.6684 | 2.1684 | fail
|  |  |  | FL (2-4 delta) | 0 | 0.068861 | 0.56886 | fail
|  |  |  | FL (2-5 delta) | 0 | -17.817 | -17.317 | fail
|  |  |  | FL (2-6 delta) | 0 | 1.0357 | 1.5357 | fail
|  |  |  | FL (2-7 delta) | 0 | 1.2837 | 1.7837 | fail
|  |  |  | MN-FL Delta Cases | MBtu/y | Range Min | Range Max | Pass/Fail
|  |  |  | MN-FL (01) | 0 | 8.3746 | 8.8746 | fail
|  |  |  | MN-FL (02) | 0 | 12.2636 | 12.7651 | fail
|  |  |  | MN-FL (03) | 0 | 8.1271 | 8.6271 | fail
|  |  |  | MN-FL (04) | 0 | 11.7543 | 12.2543 | fail
|  |  |  | MN-FL (05) | 0 | 25.0545 | 26.0355 | fail
|  |  |  | MN-FL (06) | 0 | 10.3465 | 10.8465 | fail
|  |  |  | MN-FL (07) | 0 | 8.4572 | 8.9572 | fail

## TestCases (hidden)
Case L100AD-HW-01 (heater base case , evolved from DHW-MN-56-2)
Climate location: Duluth, MN
Bedrooms: 2
Type: 40 gallon storage
Fuel: gas
Efficiency: EF = 0.56
Recovery Efficiency: RE = 0.78
DHW Heater Location: conditioned space
Plumbing fixtures: Standard flow
Pipe insulation: None
Piping length = Reference Home piping length
Recirculation: None (Standard system)
DWHR: None
Case L100AD-HW-02 (distribution base case , evolved from DHW-MN-56-4)
Same as Case L100AD-HW-01 except with 4 bedrooms
Case L100AD-HW-03 (evolved from DHW-MN-62-2)
Same as Case L100AD-HW-01 except gas water heater has EF=0.62
Case L100AD-HW-04
Same as Case L100AD-HW-02 except with all low-flow fixtures (all bath faucets and showers ≤ 2gpm)
Case L100AD-HW-05
Same as Case L100AD-HW-02 except with recirculation
· Control = none
· 50 W pump
· Loop length is same as reference loop length
· Branch length is 10 ft
· All hot water pipes insulated to R-3
Case L100AD-HW-06
Same as Case L100AD-HW-05 except with Control = Manual Demand
Case L100AD-HW-07
Same as Case L100AD-HW-02 except with Drain Water Heat Recovery
· DWHR efficiency = 54%
· All showers connected to DWHR unit
· DWHR preheats both hot and cold supplies for showers
Cases L100AM-HW-01 through L100AM-HW-07
Same as Cases L100AD-HW except climate location = Miami, FL