**PDS-01 MINHERS Addendum 69**

**Revision of Chapters 2**

**Combustion Safety Training for RFI Certifying as HERS Rater**

***Modify section 206 as follows:***

206.2.3.4 A minimum of two (2) hours of Combustion Safety field training using required combustion testing tools per ANSI/RESNET/ICC 380 in an in-field environment is required to be completed and overseen by a RESNET certified Candidate Field Assessor or Quality Assurance Designee during a HERS Rater Candidate’s probationary rating period. This field training shall include performance of CAZ, spillage, and CO testing in accordance with Carbon Monoxide (CO) Test and Depressurization Test for the Combustion Appliance Zone (CAZ) protocols contained in ANSI/ACCA 12 QH, Appendix A, Sections A4 and A5.

206.2.3.4.1 A Certified HERS Rater Candidate who is presently certified as a Rating Field Inspector (RFI) and has previously successfully completed the required two (2) hours of Combustion Safety field training as part of the RFI’s QA Provider’s RFI certification requirements in response to section 206.2.1.2.10, is not required to repeat this training. Field demonstration alone, without the full two (2) hour Combustion Safety field training does not meet this exception.