SDC 1100 Meeting

December 17, 2025; 3-4 pm ET

Via Microsoft Teams

Click link to join

Meeting ID: 268 465 324 889 59

Passcode: er3Ts38K

MEETING RECORDING HERE

Minutes

- Call to Order (Jacob Atalla, Chair)

The meeting was called to order at 3:03 PM ET.

- Roll Call (Ryan Meres)

Present: Dave Walls, Matt Graves, Jonah Schein, Ed Osann, Jacob Atalla

Staff: Jackie Diaz, Paulette McGhie, Rick Dixon, Ryan Meres, Michael Matthews

- Review of proposed revisions to the HERS H2O® Implementation Guidelines

The guidelines are being updated to align with the new versions of 850 and 301.

  - Adding sampling provisions

It was explained that sampling guidelines were originally developed as part of the H2O pilot program and included a reference to “MINHERS” within the guidelines. Since that reference is no longer valid, it was removed and now needs to be reinstated to include “HERS ®” references. Language addressing multifamily buildings, dwellings, and townhomes has been developed and reviewed during the call.

Updates to the language also include:

- Clarifies that both indoor and outdoor minimum rated features need to be verified.

- Sample sets will be assigned a unique ID, which needs to be included in the updated H2O calculations spreadsheet.

  - Aligning calculation changes with RESNET HERS

Calculations have been changed and the revisions are:

- Fixture water Use

- Hot water Waste

- Dishwasher Water Use

- Clothes Washer Water Use

The language was reviewed by the task group and shared with the committee on November 18th.

  - Clarifications for gray water calculations

The original language in 850 was not specific enough to perform the calculations in the spreadsheet. The updated language clarifies the intent of 850. It also checks whether clothes washers are connected to the greywater system, counts the lavatory faucets and showers that serve the system, and uses a calculation to determine prorated use for these fixtures, capped at 80%.

An electronic ballot will be shared with the committee, and then guidelines will be sent to the SMB for final approval. Once the guidelines have been approved, the changes will be finalized, and a final version of the calculations spreadsheet will be finalized. Because this is a change only to the RESNET guidelines, it does not need to go through the ANSI approval process.

Jonah Schein mentioned that it would be useful to incorporate the calculations in 850 into a future edition of 301 so that the standards are in alignment.

- New business

There has been an increase in HERS H2O Ratings of about 13% compared to this time last year.

The version of 2025-850 is nearing completion and was approved in April. Ryan Meres will check to see if a copy will be shared with the committee.

Meeting adjourned at 3:27 PM ET