RESNET SDC300 Meeting Agenda

11/18/2025 1:00 – 2:00 PM ET

| Members & Staff | Present | Absent | Other Attendees |
| --- | --- | --- | --- |
| SDC 300 Members 1.Thiel Butner (P) 2.Terry Clausing (P) 3. Philip Fairey (G) 4. Ian Finlayson (G) 5. Dean Gamble (G) 6. Charlie Haack (U) 7. Edwin Hensley (U) 8. Kelly Parker (P) 9. Rob Salcido (G) 10.Brian Shanks (U) 11.Jason Toves (G) 12.Robby Schwarz (U) 13.Josh Spence (P) 14.Gayathri Vijayakumar (P) 15.Neal Kruis (G) 16.Mike Browne (P) RESNET STAFF Rick Dixon Laurel Elam Clara Hedrick Noah Kibbe | SDC 300 Members RESNET STAFF |  |  |

- Introduction of Attendees (other than SDC members & RESNET Staff)

- Approve Agenda & Sept 16, 2025 Meeting Minutes

- Meeting/Call Schedule

- Bi-monthly Calls (1-2 pm, 3rd Tuesdays, next is Jan 20, 2026)

- Other Topics/New Business

- Dropbox vs Sharepoint

- Overview of current and future projects

___________________________________________________________

Project Ballots Due Before the Nov 18th Meeting:

PDS-02 HERS Addendum 90f Corrections (no public comments received but additional changes proposed by TG)

PDS-02 HERS Addendum 77 iHPWH public comments responses (13 comments)

PDS-03 HERS Addendum 77 iHPWH

PDS-02 HERS Addendum 82 HP/AC modeling public comment responses (4 comments)

PDS-03 HERS Addendum 82 HP/AC modeling

Potential Ballots After the Nov 18th Meeting:

PDS-01 RESNET/ICC 301-2022 Addendum D-202x comment responses

PDS-02 RESNET/ICC 301-2022 Addendum D-202x

PDS-01 RESNET/ICC 301-2022 Addendum G-202x public comments responses (11 comments)

PDS-02 HERS Addendum 90 public comment responses (2)

PDS-01 HERS Addendum 91i Administrative House Keeping

IR 301-2022-005 Default Efficiency of Electric Resistance Heaters

PDS-01 HERS Addendum 98i Wall Orientation

Current Projects:

ANSI 301-2022 Standards Projects:

Addendum D           Appendix A Update, Insulation Grading

Status:                   	SDC voted on responses to draft PDS-01 public comments but vote did not achieve 2/3 approval (6/4/0/4); TG Chairs responded to member negative vote comments

Addendum G        	iHPWH

Status: 	Public comment on draft PDS-01 was conducted and 11 comments were received; SDC needs to approve responses. The project transitioned to HERS Addendum 77; The ANS version of iHPWH will be re-started after the HERS Addendum 77 is implemented.

ANSI 301-2025 Standards Projects:

301-2025		Update for the 4th Edition of Standard 301

Status :	The final publication is in progress by the ICC

ANSI 380-2025 Standards Projects:

380-2025		Update for the 4th Edition of Standard 380

Status:	The final publication is in progress by the ICC

ANSI 310 Standards Projects:

310-2025                Update for the 2nd Edition of Standard 310

Status:   	The final publication is in progress by the ICC

Addendum A		Phase II of the 2025 update to Standard 310

Status:		The technical advisory TG is working on Phase II amendments.

CMP1                     Documentation of Refrigerant Weight

Status:                    To be considered during phase II of the Standard 310 update project (Addendum A of 310-2025).

HERS Standards Addenda Projects:

Addendum 77	iHPWH (Formerly Proposed Standard 301-2022 Addendum F)

Status:	PDS-03 is out for comment until 11-30-25. Webinar will be scheduled 1st week of December to discuss this and other Addenda, so PC deadline may be extended.

Addendum 82	DX HP/AC Modeling

Status:	PDS-03 is out for comment until 11-30-25. Webinar will be scheduled 1st week of December to discuss this and other Addenda, so PC deadline may be extended.

Addendum 83	CMU Insulation Grading and Default Modeling Thermal Properties

Status:	Interim Addendum 83i is in place as of 12/23/24.

SDC approved PDS-02 Addendum 83f for public comment and only one non-substantive comment received. No further action by SC300; pending SMB approval.

Addendum 90	Corrections

Status: 	PDS-02 was sent for public comment; 2 comments received, asking for explanations of the changes. Ballot on responses due after this meeting.

Addendum 91	Chapter 1 & 5 cleanup

Status:		PDS-01 will start ballot after the meeting.

Addendum 94	GSHP Circulation Loop power

Status:		SDC300 & SMB approved

Addendum 98i	Wall Orientation

Status:		PDS-01 will start ballot after the meeting

Interpretations

IR 301-2022-002      Commercial DHW Efficiency

(301 TG will likely need to consider an Amendment to address issues raised by submitter)

IR 301-2022-005      Default Efficiency for Electric Resistance

Ballot due after this meeting.

Future Standards Projects:

- Task Group & Working Group Chair Updates

  - 301 TG [Neal]

    - Explain Addendum 90 comments / responses – Neal/Philip

    - IR 301-2022-005

    - Discuss Addendum 98i

  - Appendix A Working Group [Robby]

    - Update on Addendum D:  Appendix A, Insulation Installation Grading

  - 380 TG [Mike Browne]

  - 310 TG [Dean Gamble]

  - Staff proposal: HERS Addendum 91i [Rick]

- Adjournment