**RESNET/ICC Water and Energy Remote Virtual Inspection (WERVI) Standards Committee 1400**

**Water Task Group**

**Public Meeting Notice and Agenda**

**December 5, 2023**

**10:00 am to 11:00 am PT/1:00 pm to 2:00 pm ET**

**Join on your computer, mobile app or room device**

Click here to Join Zoom Meeting: [https://zoom.us/j/91599848416](https://protect-us.mimecast.com/s/hn2-C68jgkiojz8oh6IR2j?domain=zoom.us)

Meeting ID: 915 9984 8416

[MEETING RECORDING HERE](https://zoom.us/rec/share/QCRoCcCGijDkflTa7sILCl2TIvhLu3k4PyfWBZmzky0YQH9ljJOe1PZzsMwvPAsA.EvU-D4_bOrPJRwKo)

Passcode: I4MVQv!Q

1. **Call to order/Roll call.**

Members Present**:** Joshua Harmon, David Walls

Others Present: Aaron Gary, Tim Ellis

RESNET® Staff Present: Noah Kibbe, Ryan Meres, Scott Doyle

1. **Opening remarks from Chair**

Joshua Harmon asked the group to provide brief introductions on backgrounds and current roles.

The purpose of each task group is to review the current draft regarding national standards for performing Remote Virtual Inspections (RVIs) with consultation from technical experts.

1. **Task Groups coordination**
   * Energy
   * Water
2. **Draft Standard 1450**

The Water Task Group will review section 5.2.

Aaron asked what the scope of this document would be regarding the IECC.

Ryan said there would be an overlap between 850 and the IECC documentation.

Aaron suggested changing *shall* to *may* in 5.2.1. and limiting the number of subsections thereafter.

Visual confirmation is not done for pressure rates and should be a separate line item.  
Visual confirmation of outdoor water systems should also be a separate line item.

Aaron asked if 850 tells how to perform water pressure testing. Ryan said that there is not currently a Standard that references this.

The HERS H2O Inspection Guidance documentation cannot be used as a reference as it is not an ANSI-approved document. It can, however, be paraphrased and added as an informative appendix.

5.2.1.6 Aaron recommended deleting *in accordance with* since 850 does not specify how to conduct the test for fixture flow rate.

1. **Future task group meeting dates**

* Determine dates for 2024

Joshua will coordinate with Med on feedback from the Energy Subgroup to determine the best meeting times for 2024.

Tuesdays are typically available for most members.

1. **Other Business**
2. **Adjourn Meeting**

\*Please note that the WERVI Committee is making every attempt to make the meetings accessible virtually. Please excuse any technical difficulties that are beyond the committee’s control.