Comment/Explanation*: 
Include your justification for your proposed change to the draft standard below.
_________________________________________________________________________________________

Under “Life Cyle Modules Inculded” in Table 5.2.1 (and subsequent sections throughout the standard), A5.3 was added but there is no definition for it. It appears that the intent of A5.3 in this standard is to capture waste generated during installation. Based on its context within the standard, A5.3 appears intended to capture waste generated during the installation phase. This interpretation is partially aligned with the RICS Whole Life Carbon Assessment for the Built Environment, which seems to have informed the development of this standard. To ensure clarity and consistency, the RESNET standard should explicitly define what A5.3 encompasses. At a minimum, new terms and definitions should be introduced for both Module A5 (which is mentioned in section 10.5) and sub-module A5.3. Additional definitions for the remaining A5 submodules may be considered for inclusion in future revisions of the standard.

It is also noted that Module A4 is referenced in Section 10.5. Therefore, it is recommended that a term and definition for A4 be included to ensure consistency and a clear progression of information across the defined life cycle modules.

Proposed Change to the Draft Standard*
Use “strikethrough” and “underline” formatting to indicate all proposed changes. Changes must be shown with “hard-formatting” strikethrough and underline, not “track changes”.

Use a color other than red to indicate proposed changes to the draft.
____________________________________________________________________________________________

Add the following new terms and definitions in section 3.2:

Module A4 - The life cycle information module corresponding to the transportation of the products from the factory gate to and from the construction site. Also known as life cycle module A4.

Module A5 - The life cycle information module corresponding to all processes associated with the installation of the product into the building. This includes on-site construction activities, energy use by construction equipment, emissions from installation processes, and the generation and handling of construction waste. Also known as life cycle module A5.

Submodule A5.3 - The life cycle information subcomponent of Module A5 corresponding to the production impacts (Modules A1-A3) of products that are wasted during the construction and installation phase. This does not include impacts from transport, processing, or disposal of the waste.  Also known as life cycle submodule A5.3.