Comment/Explanation*: 
Include your justification for your proposed change to the draft standard below.
_________________________________________________________________________________________

A manufacturer’s installation or owner’s manual should list the minimum Conditioned Space Volume.  A quick survey of manufacturers installation instructions states minimum Conditioned Space Volumes from 450ft3 – 1,000ft3.  Most manufacturers state the minimum Conditioned Space Volumes to achieve the appropriate energy efficiency, and those instructions should be followed.  An iHPWH which is installed in the minimum (or greater) conditioned Space Volume as noted in the manufacturer’s installation instructions should receive the maximum allowable effective COP.  Where the minimum Conditioned Space Volume is not specified by the manufacturer, suggest adding ‘the Conditioned Space Volume shall have a volume equal to or greater than 1,000 ft3’.

Proposed Change to the Draft Standard*
Use “strikethrough” and “underline” formatting to indicate all proposed changes. Changes must be shown with “hard-formatting” strikethrough and underline, not “track changes”.

Use a color other than red to indicate proposed changes to the draft.
____________________________________________________________________________________________

- The iHPWH is in an enclosed space having a volume equal to or greater than the manufacturer’s installation instructions.   Where the minimum Conditioned Space Volume is not specified by the manufacturer, the Conditioned Space Volume shall have a volume equal to or greater than 1,000 ft3 which is within the Conditioned Space Volume of the Dwelling Unit.