COMMENT 2

# 2 Scope (1)

This standard is applicable to buildings with Dwelling Units and Sleeping Units in Residential or Commercial Buildings, except hotels and motels.

This standard does not address the building site or infrastructure.

This standard does not set benchmarks or establish levels of building performance targets for embodied carbon emissions of products or buildings.

This standard does not address operational carbon emissions of a building and any interaction of those emissions with specified products and other building design decisions.

This standard shall not be used to circumvent any safety, health, or environmental requirements.

__________________

- (Informative note) For additional information on the limitations of this standard refer to Section 10.5.

REASON:  This section as currently written addresses the applicability (scope) of the standard as well as limitations (what the “standard does not” do).  Some significant limitations are not mentioned in this section and should be included to better inform the user of what the standard does not address.  Two additional limitations, one clarification, and an informative note referencing Section 10.5 are proposed for that purpose.