COMMENT 6 (only if comment 5 is rejected)

…

Table 5.4.1  Minimum Assessed Products

| Building Element | Minimum Assessed Products |
| --- | --- |
| Foundations, Subgrade Enclosures, and Slabs-on-Grade | Concrete elements, incl. walls, footings, pads, piers & piles |
|  | Reinforcement bars and mesh |
|  | Perimeter frame walls integral to foundation assembly |
|  | Insulation, exterior & interior |
|  | Barriers (air tightness, waterproofing, drainage) |
|  | Aggregate |
| Exterior Walls | Wall structure (framing, SIP, masonry, other) |
|  | Sheathing |
|  | Strapping/furring |
|  | Cladding |
|  | Windows |
|  | Exterior doors (glazed and opaque) |
|  | Insulation (cavity, continuous, band joist, other) |
|  | Barriers (air tightness, waterproofing) |
|  | Paint (if site painting required) |
| Roofs | Roof structure (framing, SIP, other) |
|  | Roof deck sheathing |
|  | Roof deck strapping |
|  | Roofing |
|  | Insulation |
|  | Barriers |
|  | Skylights |
| Interior Construction | Floor structure (framing, SIP, other) |
|  | Floor sheathing/subflooring |
|  | Walls (framing, masonry, other) |
|  | Ceiling structure (framing, SIP, other) |
|  | Structural posts and beams |
|  | Insulation used exclusively for sSound and/or fire insulation |
|  | Doors |
|  | Party walls |
|  | Stairs |
|  | Shafts |
| Interior Finishes | Wall finish |
|  | Ceiling finish |
|  | Flooring |
|  | Paint |
| Plumbing | Supply and drain piping |
|  | Fixtures (toilets, sinks, tub/shower) |
|  | Hot water equipment |
| HVAC | Heating & cooling equipment |
|  | Mechanical ventilation systems |
|  | Distribution systems (ducts, tubing) |
| Electrical | Wire, boxes, panels |
| Attached and Detached Garages, excluding accessory dwelling units and all other attached or detached buildings | Assessments of attached and detached garages shall include all Minimum Assessed Products included in this table used to construct the garage. |
| Balconies, decks and porches, excluding those not attached to the assessed dwelling unit | Assessments of attached balconies, decks and porches shall include all Minimum Assessed Products included in this table used to construct the balconies, decks and or/porches. |

Table 10.4.1 Excluded Building Components

| Building Element | EXCLUDED Building Components |
| --- | --- |
| Foundations, Subgrade Enclosures, and Slabs-on-Grade | Formwork |
|  | Ties |
|  | Fasteners |
|  | Sub slab drainage pipes |
|  | Insulation |
| Exterior Walls | Fasteners |
|  | Insulation around window and door units |
|  | Trim and flashing |
|  | Exterior shading |
|  | Insulation and sealants around glazing units |
| Roof | Fasteners |
|  | Gutters |
|  | Downspouts |
|  | Fascia |
|  | Soffit |
|  | Trim and flashing |
|  | Insulation |
| Interior Construction | Fasteners |
|  | Sound proofing sealant and gaskets |
|  | Door hardware |
|  | Trim |
| Interior Finishes | Fasteners |
|  | Cabinetry |
|  | Counters |
|  | Hardware |
|  | Trim |
| Plumbing | Taps |
|  | Valves |
|  | Fittings |
|  | Controls |
| HVAC | Controls |
|  | Wire |
|  | Hardware |
|  | Mounts/supports |
|  | Refrigerants(a) |
| Electrical | Hardware |
|  | Finishes |
|  | Light fixtures |
|  | Panels |
|  | Solar/PV systems(a) |
| Accessory Structures | ADUs, sheds, storage units, ramps and other detached structures |
| Communications | All components |
| Electronic Safety and Security | All components |
| Integrated Automation | All components |
| Fire suppression | All components |
| Equipment & Furnishings | All components |
| Special Construction & Demolition | Special Construction |
|  | Facility Remediation |
|  | Demolition |
| Sitework & Landscape | Site preparation |
|  | Site improvements (hardscape, softscape) |
|  | Liquid and Gas Site Utilities |
|  | Electrical site improvements |
|  | Site communications |
|  | Misc. site construction |

- Not excluded where optionally included in accordance with Section 6.3.

10.6 Sample Report for Confirmed Assessment for a Single Detached Dwelling Unit (Informative)

Delete insulation from the example reporting tables consistent with above changes.

REASON:  This comment is provided as an alternative to the proponent’s preferred comment #5.  If comment #5 is accepted this comment will be withdrawn by the proponent.

Counting the full embodied carbon impact of all insulation in this standard while neglecting the material’s primary purpose of operational energy and emissions savings (while at best separately addressing operational emissions in an relative index such as RESNET 301 CO2 Index) is not an adequate or consistent characterization of the total carbon profile of insulation materials -- considering both their total embodied carbon (as done in this standard) and their total operational emissions benefit.  The separate use of  the RESNET 301 standard’s CO2 Index doesn’t work toward this purpose because it is a relative index (uses a reference baseline) resulting in only a partial assessment of the impact of the full insulation amount in a building while RESNET 1550 counts the full impact of the insulation’s embodied carbon.  In other words, the inconsistency in treatment of insulation between the two standards eliminates the ability to look at insulation from a total carbon perspective and its full impact in both categories of emissions: embodied and operational.  Deleting insulation from the minimum assessment table and including it in the excluded (or optional) assessment table will avoid this inconsistency.

Furthermore, deleting insulation from the table of minimum assessed products is consistent with its relevance as a GHG emission reduction solution, not a liability when viewed completely from a total carbon perspective at a big picture level.  For example, the U.S. insulation industry’s total annual embodied emissions is more than an order of magnitude less than any one of the top 3 “heavy hitter” building and construction materials that collectively account for almost 2/3rds of all U.S. building and construction material emissions (see Figure and Table below).  Consequently, this proposal approach is consistent with the EPA’s key category analysis of US emission sources coupled with an application of the 80/20 rule as reasonable basis for policy and standard development (e.g., get 80 percent of the problem solved with 20 percent of the effort and cost). This approach, particularly if extended beyond just the insulation focus of this comment (which is one of the more obvious applications), would also serve to dramatically simplify the scope of the standard and its application by practitioners without sacrificing the goal of the standard to effectively reduce embodied emissions with meaningful climate impact for the level of effort.

Sources for Figure and Table above:

- https://www.continuousinsulation.org/sites/default/files/uploads/attachments/node/210/ci-factssheetdecarbfinal.pdf

- https://www.appliedbuildingtech.com/content/decarbonization-buildings-review-climate-science-policies-practices-data-and-recommended

In further support and as shown in the Table and Figure above, the entirety of U.S. insulation production in a year accounts for about 0.01% (1/10,000ths) of total annual global emissions yet is used to mitigate nearly 300x that amount per year in annual building stock operational emissions.  Insulation also reduces energy demand on both non-renewable and renewable energy sources such that they are used more productively and conservatively – reducing fossil energy demand while allowing available renewable energy resources to cover more of the demand.  The above benefits apply to both biogenic and non-biogenic insulation materials and often dwarf any difference in carbon storage or GWP as shown in the Figure below which shows three comparative total carbon profiles for a range of insulation GWPs bracketing current insulation material GWPs (all of which may be considered “low-carbon”).

Source:

- https://www.continuousinsulation.org/sites/default/files/uploads/attachments/node/210/ci-factssheetdecarbfinal.pdf

Also, certain insulation materials have multifunctional capabilities that are not addressed in this standard’s siloed focus on embodied emissions which can lead to inadvertent design performance and functional trade-offs for the sake of lowering embodied emissions. This comment assumes that this standard will be eventually used (as intended or as has been already proposed) as a means to meet and enforce embodied carbon benchmarks set elsewhere.

Finally, this proposal is consistent with Table 5.4.1’s current exclusion of (or silence regarding) insulation materials used in floors separating conditioned and unconditioned spaces.